## Main
Supplier | Qty | Model | Description | cost
Arista | 3 | DCS-7050SX-64-R | Arista 7050X, 48x10GbE (SFP+) & 4xQSFP+ switch, rear-to-front air, 2xAC, 2xC13-C14 cords | 1000
Arista | 3 | LIC-FIX-2-E | Enhanced L3 License for Arista Fixed switches, 40-132 port 10G (BGP, OSPF, ISIS, PIM, NAT) | 1100
Juniper | 2 | SRX1500-SYS-JB-AC | SRX1500 Services Gateway includes hardware (16GE, 4x10GE, 16G RAM, 16G Flash, 100G SSD, AC PSU, cable and RMK) and Junos Software Base (Firewall, NAT, IPSec, Routing, MPLS and Switching). | 1200
Juniper | 2 | SVC-SD-SRX1500JB | JNPR Care SD Supt SRX1500-SYS-JB Service Period :36 Months | 1300
Juniper | 2 | JPSU-400W-AC | Juniper Power Supply Unit, 400W AC, Slim 1RU Form Factor | 1400
Finisar | 10 | FCLF8522P2BTL | 1000BASE-T 100m Gen2 RJ-45 Copper SFP Optical Transceiver | 1500
Finisar | 8 | FTLX8574D3BCL | 10GBASE-SR 400m Industrial Temperature SFP+ Optical Transceiver | 1600
Finisar | 34 | FTLX1471D3BCL | 10GBASE-LR 10G 10km 1310nm Industrial Temperature Single Mode Datacom SFP+ Optical Transceiver | 1700
Finisar | 8 | FTLF1318P3BTL | 1000BASE-LX and 1G Fibre Channel (1GFC) 10km Industrial Temperature Gen 3 SFP Optical Transceiver | 1800
Panduit | 8 | FX2ERLNLNSNM002 | 2M LC-LC Optical Cable | 1900
Panduit | 50 | F92ERLNLNSNM002 | LC-LC 9 M DUPL 1.6MM PATCH CORD 2M | 2000
Panduit | 24 | UTPSP2MBUY | COPPER PATCH CORD, CAT 6, BLUE, 2 Meter | 2100
Avocent | 2 | ACS6008MDAC-G2 | ACS6008MDAC-G2 KVM Console Server (Avocent) | 2200
Panduit | 3 | QPP24BL | QN PATCH PANEL, FLAT, 48 PORT, 1RU | 2300
Panduit | 4 | QCPBCBCBXX75 | QN CABLE ASSEMBLY, CAT 6, CMP, BLUE UTP | 2400
Panduit | 8 | CFAPPBL1 | Fiber Adapter Patch Panel 1 RU | 2500
Panduit | 8 | FQCRCM | Quicknet Cassette Rear Cable Manager | 2600
Panduit | 14 | FC29N-24-10AS | OS1/OS2 24-fiber total, standard loss, LC duplex adapter (color and split sleeve dictated by fiber type), standard method A | 2700
Panduit | 2 | F9TRP5N5NANF015 | 15 FT 9 M FLAT RIBBON PLENUM RATED MTP | 2800
Panduit | 8 | F9TRP5N5NANF075 | 75 FT -9 M FLAT RIBBON PLENUM RATED MTP | 2900
Schneider Electric | 12 | AR8612 | Horizontal Cable Manager, 1U x 6" Deep, Single-Sided with Cover | 3000
Lenovo | 2 | 7X02SFP800 | Thins System SR630 Model: Intel Xeon Gold 6134 8C 130W 3.2GHz Processor, 64GB TruDDR4 2666 MHz (2Rx4 1.2V) RDIMM, 2x 5200 480GB MS SATA 2.5" HS SSD | 3100
Lenovo | 2 | 5PS7A01504 | Support: 3 year 24x7 | 3200
Lenovo | 8 | 7X06UULD00 | ThinkSystem SR650: 2x Intel Xeon Gold 6128 6C 3.4GHz 115W, 12x16GB 2Rx8, 14x8TB 7200, SW RD, 2x750W, XCC Enterprise, ThinkSystem Tool less Slide Rail Kit with 2U CMA | 3300
Lenovo | 8 | 5PS7A01558 | ThinkSystem SR650 - 3yr Warranty | 3400
Finisar | 40 | FTLX8574D3BCL | 10GBASE-SR 400m Industrial Temperature SFP+ Optical Transceiver | 3500
Finisar | 10 | FTLX1471D3BCL | 10GBASE-LR 10G 10km 1310nm Industrial Temperature Single Mode Datacom SFP+ Optical Transceiver | 3600
Finisar | 46 | FCLF8522P2BTL | 1000BASE-T 100m Gen2 RJ-45 Copper SFP Optical Transceiver | 3700
APC/Schneider | 6 | SRT6KRMXLI | APC Smart-UPS SRT 6000VA RM 230V (4u) | 3800
APC/Schneider | 6 | WBEXT1YR-SU-05 | 1YR Concurrent Extended Warranty for (1) Smart-UPS 5-7kVA | 3900
APC/Schneider | 18 | WUPGFWOS-SU-05 | (1) YR NBD On-Site Service Upgrade to Factory Warranty for (1) SMART-UPS 5-7KVA | 4000
APC/Schneider | 12 | SRT192RMBP | Battery Pack | 4100
APC/Schneider | 18 | SRTRK2 | UPS Rail kit | 4200
APC/Schneider | 6 | AP8953 | Rack PDU 2G, Switched, ZeroU, 32A, 230V, (21) C13 & (3) C19 | 4300
APC/Schneider | 6 | AP7586 | Rack PDU Extender | 4400
APC/Schneider | 1 | Site Survey/Installation/Commission | Site Survey/Installation/Commission: Site Survey before Installation/Commission. 5x8 Power Up for UPS and Battery. | 4500
AKCP | 1 | GC-AK-SEC5ESV | securityProbe 5ESV, Linux Operating System, 8 Sensor Ports, 2 Expansion Ports, and 4 Camera inputs | 4600
AKCP | 6 | GC-AK-THS-00 | Temperature & Humidity Sensor, allows extenstion with CAT5 cable, 5 feet of cable included | 4700
AKCP | 1 | GC-AK-WS-15 | Water Sensor with 15 Foot Fixed Length Cable | 4800
Schneider | 3 | AR3157 | NetShelter SX 48U 750mm Wide x 1051mm Deep enclosure with Sides Black | 4900
Schneider | 3 | ACF504 | SX Roof Fan Tray 208-230 VAC 750mm | 5000
Schneider | 3 | NBACS125 | NetBotz 125 kHz Rack Access Control | 5100
Schneider | 3 | AR8442 | Vertical Cable Organizer, 8 Cable Rings, Zero U (order 3 per rack) | 5200
Schneider | 2 | AP8702S-WW | power cord kit (6 ea), locking C13 to C14, 0.6m | 5300
Schneider | 6 | AP8704S-WW | power cord kit (6 ea), locking C13 to C14, 1.2m | 5400
Schneider | 2 | AP8706S-WW | power cord kit (6 ea), locking C13 to C14, 1.8m | 5500
Softchoice | 10 | T84034 | Softchoice - C14(m) to NEMA 5-15(f), 1' power cable | 5600
Panduit | 30 | FX2ERLNLNSNM003 | 3M LC-LC Optical Cable | 5700
Panduit | 10 | F92ERLNLNSNM002 | LC-LC 9 M DUPL 1.6MM PATCH CORD 2M | 5800
Panduit | 20 | UTPSP2MGRY | Green 2M CAT 6 cable with RJ45 connectors (standard, Panduit) | 5900
Panduit | 20 | UTPSP2.5MGRY | Green 2.5M CAT 6 cable with RJ45 connectors (standard, Panduit) | 6000
Cisco | 3 | CAB-CONSOLE-RJ45= | 6FT CONSOLE CABLE W/RJ45 & DB9FCABL | 6100
Panduit | 1 | HLS-15R2 | HOOK & LOOP ROLL, 15'L (4.6M), .75W (19 Red | 6200
Panduit | 1 | HLS-15R6 | HOOK & LOOP ROLL, 15'L (4.6M), .75W (19 Blue | 6300
Panduit | 1 | HLS-15R5 | HOOK & LOOP ROLL, 15'L (4.6M), .75W (19 Green) | 6400
Brother | 1 | PTP-950NW | PT-E550W HANDHELD LABELING TOOL USB I/F LI-ION AUTOCUT CARRY CASE | 6500
Brother | 3 | TZeS231 | 12mm (0.47") Black on White Tape with Extra Strength Adhesive 8m (26.2 ft) | 6600
Brother | 4 | TZeS251 | 24mm (0.94") Black on White Tape with Extra Strength Adhesive 8m (26.2 ft) | 6700