## Sheet1
Supplier | Qty | Model | Description | cost
Arista | 3 | DCS-7050SX-64-R | Arista 7050X, 48x10GbE (SFP+) & 4xQSFP+ switch, rear-to-front air, 2xAC, 2xC13-C14 cords | 1000
Arista | 3 | LIC-FIX-2-E | Enhanced L3 License for Arista Fixed switches, 40-132 port 10G (BGP, OSPF, ISIS, PIM, NAT) | 1100
Juniper | 2 | JPSU-400W-AC | Juniper Power Supply Unit, 400W AC, Slim 1RU Form Factor | 1400
Finisar | 10 | FCLF8522P2BTL | 1000BASE-T 100m Gen2 RJ-45 Copper SFP Optical Transceiver | 1500
Finisar | 8 | FTLX8574D3BCL | 10GBASE-SR 400m Industrial Temperature SFP+ Optical Transceiver | 1600
Finisar | 34 | FTLX1471D3BCL | 10GBASE-LR 10G 10km 1310nm Industrial Temperature Single Mode Datacom SFP+ Optical Transceiver | 1700
Panduit | 50 | F92ERLNLNSNM002 | LC-LC 9 M DUPL 1.6MM PATCH CORD 2M | 2000
Panduit | 24 | UTPSP2MBUY | COPPER PATCH CORD, CAT 6, BLUE, 2 Meter | 2100
Avocent | 2 | ACS6008MDAC-G2 | ACS6008MDAC-G2 KVM Console Server (Avocent) | 2200
Panduit | 3 | QPP24BL | QN PATCH PANEL, FLAT, 48 PORT, 1RU | 2300
Schneider Electric | 12 | AR8612 | Horizontal Cable Manager, 1U x 6" Deep, Single-Sided with Cover | 3000
Lenovo | 2 | 7X02SFP800 | Thins System SR630 Model: Intel Xeon Gold 6134 8C 130W 3.2GHz Processor, 64GB TruDDR4 2666 MHz (2Rx4 1.2V) RDIMM, 2x 5200 480GB MS SATA 2.5" HS SSD | 3100
Lenovo | 2 | 5PS7A01504 | Support: 3 year 24x7 | 3200
Finisar | 40 | FTLX8574D3BCL | 10GBASE-SR 400m Industrial Temperature SFP+ Optical Transceiver | 3500
Finisar | 10 | FTLX1471D3BCL | 10GBASE-LR 10G 10km 1310nm Industrial Temperature Single Mode Datacom SFP+ Optical Transceiver | 3600
Finisar | 46 | FCLF8522P2BTL | 1000BASE-T 100m Gen2 RJ-45 Copper SFP Optical Transceiver | 3700
APC/Schneider | 6 | SRT6KRMXLI | APC Smart-UPS SRT 6000VA RM 230V (4u) | 3800
APC/Schneider | 6 | WBEXT1YR-SU-05 | 1YR Concurrent Extended Warranty for (1) Smart-UPS 5-7kVA | 3900
AKCP | 1 | GC-AK-WS-15 | Water Sensor with 15 Foot Fixed Length Cable | 4800
Softchoice | 10 | T84034 | Softchoice - C14(m) to NEMA 5-15(f), 1' power cable | 5600
Panduit | 30 | FX2ERLNLNSNM003 | 3M LC-LC Optical Cable | 5700
Panduit | 20 | UTPSP2.5MGRY | Green 2.5M CAT 6 cable with RJ45 connectors (standard, Panduit) | 6000
Cisco | 3 | CAB-CONSOLE-RJ45= | 6FT CONSOLE CABLE W/RJ45 & DB9FCABL | 6100
Brother | 1 | PTP-950NW | PT-E550W HANDHELD LABELING TOOL USB I/F LI-ION AUTOCUT CARRY CASE | 6500